## fp-issued-report
PERMIT_DETAILS | CASE_NUMBER | ADDRESS | WORK_PROPOSED | TYPE_OF_USE | DESCRIPTION_OF_WORK | VALUATION | DATE_RECEIVED | DATE_ISSUED | STATUS | IVR_NUMBER | PROPERTY_LEGAL_DESCRIPTION | PERMIT_INFO | CONTRACTOR
https://www.portlandmaps.com/detail/permit/4764378_did/ | 22-103881-000-00-FA | 3033 NW YEON AVE, 97210 | Alteration | Fire Alarms | F9/ Nw Yeon - Phase Ii Buildout Of Tenant Space; Alarm - Install New Ada Synchronized Notification Devices In Phase 2 Area Per Plans. | 1 | 44575.6125 | 44581.3604 | Issued | 4764378 | 1N1E29AD 00100 SECTION 29 1N 1E TL 100 2.68 ACRES
https://www.portlandmaps.com/detail/permit/4764373_did/ | 22-103876-000-00-FA | 7000 NE AIRPORT WAY, 97218 | Alteration | Fire Sprinklers | F37/ Pdx Airport Screen Door Ti Concourse B Enplanning Lvl; Sprinkler - Build-Out Of Shell Space. Modify Existing Shell Sprinkler System For New Floor And Ceiling Space For Screen Door Restaurant In Concourse B. | 1 | 44575.6087 | 44581.3577 | Issued | 4764373 | 1N2E08B 00400 SECTION 08 1N 2E TL 400 7.39 ACRES SEE SUB ACCOUNTS | Occupancy Group 1: A-2 Construction Type 2 (formerly Type 1): I-A
https://www.portlandmaps.com/detail/permit/4764181_did/ | 22-103689-000-00-FA | 840 SW GAINES ST, 97239 | Alteration | Fire Alarms | New Fire Alarm Notification Devices Throughout Building. | 60000 | 44575.3964 | 44581.3661 | Issued | 4764181 | 1S1E09DB 03200 SECTION 09 1S 1E TL 3200 1.63 ACRES | Occupancy Group 1: B Construction Type 2 (formerly Type 1): V-A
https://www.portlandmaps.com/detail/permit/4763883_did/ | 22-103407-000-00-FA | 1 SW COLUMBIA ST, 97258 | Alteration | Mechanical | Single PDF Process/ First American Title, Ste 1600 Ti; Install Vav Actuators, Pneumatic Temperature Sensors, Diffusers, Return Air Grilles With Sound Boots, Ductwork, And Elec | 44556 | 44574.4954 | 44580.6523 | Issued | 4763883 | 1S1E03BD 01800 PORTLAND BLOCK 114 LOT 1-3 LOT 4 EXC PT IN STS, LOT 5-8 |  | Hunter Davisson Inc 1800 Se Pershing St Portland, OR 97202-2338
https://www.portlandmaps.com/detail/permit/4763793_did/ | 22-103320-000-00-FA | 17906 NE RIVERSIDE PKWY, 97230 | Alteration | Fire Sprinklers | Single PDF Process/ Riverside Junction Bldg 2, Medcure, Ste 205; Sprinkler - Add (13) New Sprinkler Head Drops Off Of Existing Wet System To Cover New Floor Plan. | 1 | 44574.41 | 44574.5144 | Issued | 4763793 | 1N3E19DA 00400 | Occupancy Group 1: S-1_Storage - Moderate Hazard, Warehouse
https://www.portlandmaps.com/detail/permit/4763790_did/ | 22-103318-000-00-FA | 17780 NE RIVERSIDE PKWY | Alteration | Fire Sprinklers | Single PDF Process/ Medcure, Ste 130 Ti; Sprinkler - Add (40) New Sprinkler Head Drops Off Of Existing Wet System To Cover New Floor Plan. | 1 | 44574.4059 | 44574.5158 | Issued | 4763790
https://www.portlandmaps.com/detail/permit/4763685_did/ | 22-103215-000-00-FA | 1615 SE 3RD AVE, 97214 | Alteration | Electrical | Access - Fully, Ste 400 Ti; New Tenant - Create Open Office, Product Display Area, Storage, Ceiling, Finishes, Le Elec | 0 | 44574.2485 | 44574.259 | Issued | 4763685 | 1S1E03DA 01900 STEPHENS ADD BLOCK 39 LOT 1-8 |  | Mark Scott Stoner Electric Inc 1904 Se Ochoco Milwaukie, OR 97222
https://www.portlandmaps.com/detail/permit/4763552_did/ | 22-103085-000-00-FA | 1500 SW 1ST AVE, 97201 | Alteration | Electrical | Data- Aiphone Kb-3Mrd Master Monitor With Handset Count Of 5 Aiphone Kb-Dar Tilt Video Door Station Count Of 1 Cabling And Any Necessary Conduit From Video Door Station Areas Across The Suite | 0 | 44573.5741 | 44573.5768 | Issued | 4763552 | 1S1E03CA 00600 PORTLAND BLOCK 116 TL 600 | Occupancy Group 1: B Construction Type 2 (formerly Type 1): I-A | Johnson Controls Security Solutions Llc 6305 Sw Rosewood St Suite A Lake Oswego, OR 97035
https://www.portlandmaps.com/detail/permit/4763531_did/ | 22-103065-000-00-FA | 4380 S MACADAM AVE, 97239 | Alteration | Electrical | Data - Stewart Sokol & Larkin, Ste 530 Ti; New Tenant - Demo Walls, New Walls To Create Conference Rms, Reception, Offices, Coat Closet, Storage, Open Office, Workroom, It Rm, Telco, Break Rm, Ceiling, Flooring, Finishes, Plumb, And Elec | 0 | 44573.5455 | 44573.5474 | Issued | 4763531 | 1S1E10DC 00800 SECTION 10 1S 1E TL 800 3.18 ACRES
https://www.portlandmaps.com/detail/permit/4763523_did/ | 22-103058-000-00-FA | 1050 SW 6TH AVE, 97204 | Alteration | Plumbing | Avenue 5 Ti, 19Th Fl; Install 2- Sinks, 2-Under-Counter Water Heaters, 1-Icemaker, 1-Dishwasher, | 0 | 44573.5294 | 44573.5362 | Issued | 4763523 | 1S1E03BB 00800 BLOCK 169 LOT 1-8 |  | Alliant Systems Llc 351 Nw 12Th Ave Portland, OR 97209
https://www.portlandmaps.com/detail/permit/4763433_did/ | 22-102969-000-00-FA | 333 SW 5TH AVE, 97204 | Alteration | Fire Sprinklers | Single PDF Process/ Lewis & Clark Small Business Law Center, 4Th Fl; Sprinkler - Relocate (2) Sprinkler Heads Due To New Ceilings. | 1 | 44573.4353 | 44574.3296 | Issued | 4763433 | 1N1E34CD 06800 PORTLAND BLOCK 82 S 0.56' OF LOT 2 LOT 3&4, HISTORIC PROPERTY, POTENTIAL ADDITIONAL TAX | Occupancy Group 1: B Construction Type 2 (formerly Type 1): I-A
https://www.portlandmaps.com/detail/permit/4763122_did/ | 22-102682-000-00-FA | 3203 SE WOODSTOCK BLVD, 97202 | Alteration | Fire Sprinklers | Single PDF Process/ Reed College Old Dorm Block; Demo/Remove The Inergen Fire Suppression System Located In Server Rm, Preaction System To Remain In Place For Proper Coverage | 1100 | 44572.5058 | 44572.5883 | Final | 4763122 | 1S1E13 00100 SECTION 13 1S 1E TL 100 103.39 ACRES
https://www.portlandmaps.com/detail/permit/4763116_did/ | 22-102676-000-00-FA | 3203 SE WOODSTOCK BLVD, 97202 | Alteration | Fire Sprinklers | Single PDF Process/ Reed College Hauser Library; Demo/Remove The Inergen Fire Suppression System Located In Elevator Equip/Server Rm, Preaction System To Remain In Place For Proper Coverage, Inergen System That Covers The Archive Books To Remain In Place | 1548 | 44572.5 | 44572.5926 | Final | 4763116 | 1S1E13 00100 SECTION 13 1S 1E TL 100 103.39 ACRES | Occupancy Group 1: B Construction Type 2 (formerly Type 1): III-1HR
https://www.portlandmaps.com/detail/permit/4763104_did/ | 22-102664-000-00-FA | 3203 SE WOODSTOCK BLVD, 97202 | Alteration | Fire Sprinklers | Single PDF Process/ Reed College Performing Arts Bldg; Demo/Remove The Inergen Fire Suppression System Located Inmdf/It Rm #120, Preaction System To Remain In Place For Proper Coverage | 2322 | 44572.4941 | 44572.5945 | Final | 4763104 | 1S1E13 00100 SECTION 13 1S 1E TL 100 103.39 ACRES
https://www.portlandmaps.com/detail/permit/4763095_did/ | 22-102656-000-00-FA | 3203 SE WOODSTOCK BLVD, 97202 | Alteration | Fire Sprinklers | Single PDF Process/ Reed College Sequoia Dorm; Demo/Remove The Inergen Fire Suppression System Located In Server/Electrical Rm, Preaction System To Remain In Place For Proper Coverage | 3096 | 44572.4881 | 44572.5963 | Final | 4763095 | 1S1E13 00100 SECTION 13 1S 1E TL 100 103.39 ACRES
https://www.portlandmaps.com/detail/permit/4763083_did/ | 22-102645-000-00-FA | 3203 SE WOODSTOCK BLVD, 97202 | Alteration | Fire Sprinklers | Single PDF Process/ Reed College Etc Bldg; Demo/Remove The Inergen Fire Suppression System Located In B02 Sis Storage/Utility, Preaction System To Remain In Place For Proper Coverage | 7740 | 44572.4797 | 44572.598 | Final | 4763083 | 1S1E13 00100 SECTION 13 1S 1E TL 100 103.39 ACRES
https://www.portlandmaps.com/detail/permit/4762880_did/ | 22-102448-000-00-FA | 700 SW CAMPUS DR - Unit DCH, 97239 | Alteration | Electrical | Pwr/Data-Ohsu (Dch) Rm 10244-Rework Existing 120V Circuit For New Monitor And Data | 0 | 44572.3141 | 44572.3179 | Final | 4762880 | 1S1E09 00200 TL 200 26.24 ACRES LAND & IMPS SEE R327745 (R991090552) FOR AIRSPACE & IMPS & R327746 (R991090555) FOR IMPS | Occupancy Group 1: I-2 Construction Type 2 (formerly Type 1): I-A | Celine Williams Dynalectric Company 2225 Nw 20Th Ave Portland, OR 97209
https://www.portlandmaps.com/detail/permit/4730085_did/ | 19-130673-DFS-30-MG | 970 SW WASHINGTON ST, 97205 | New Construction | Apartments/Condos (3 or more units) | Block 216 -Str-Dfs-30 - L2 Ballroom Spring Hanger Ceiling | 100000 | 44572.5447 | 44572.5979 | Issued | 4730085 | 1N1E34CC 05900 BLOCK 216 LOT 1-8 |  | Balfour Beatty Construction Llc 205 W Dewey St Goldsboro, Nc 27530
https://www.portlandmaps.com/detail/permit/4716284_did/ | 21-076195-000-00-ZP | 5580 SE 120TH AVE, 97266 | Residential | Residential Driveway | Single PDF - Remove Old Asphalt Driveway And Install New 1294 Sq Ft Concrete Driveway With Street Apron | 2000 | 44578.8429 | 44579.305 | Issued | 4716284 | 1S2E15DA 00900 SECTION 15 1S 2E TL 900 0.19 ACRES